## EpiScript Protocol
2019-nCoV with Episcript RT-qPCR and RapiDxFire 5x Master Mix Assay Protocol
(Updated on March 31st, 2020)
EpiScript Reverse Transcriptase | 200 U/uL | Part # | ERT12910K, ERT12925K
RapiDxFire qPCR 5X Master Mix | 5X | Part # | 30050-1, 30050-2
BEFORE YOU BEGIN WORK (PLEASE READ)
*Please take the time to read both the CDC protocol and the Proof of Concept protocol.
*Double check information provided here in the table with your own calculations before starting with the tests
Thaw reagents and keep on ice
Set up on Ice or at room temperature for < 1 hr
Reaction Mix (3 reactions per sample – N1, N2 and RP) (N3 is optional) |  |  |  |  | # Rxns
| Stock conc. | Units | Final 1X conc. | 1 Rx uL | 20
RapiDxFire qPCR 5X Master Mix, GF | 5 | X | 1 | 4 | 80
DTT (Optional) | 100 | mM | 10mM | 2 | 40
2019-nCoV rRT-PCR Panel Primers and Probes Mix | Assay resuspended in 1.5 mL |  | 0.5 µM each primer 0.125 µM probe | 1.5 | 30
EpiScript Reverse Transcriptase | 200 | U/uL | 5 | 0.5 | 10
Sample |  |  |  | 5
Nuclease Water |  |  |  | 7 | 140
|  |  |  | 20 | 300
20 uL Reaction Mix per well plus 5 uL of RNA sample or Te (NTC)
PCR Cycling Program | 42C | 15min |  | Reverse Transcription
(Option 1 - Used on Proof of Concept) | 95C | 2 min |  | Denaturation and Taq Activation
| 95C | 3 sec | 50 cycles
| 60C | 30 sec
PCR Cycling Program (Option 2) | 42C | 5 min |  | Reverse Transcription
| 50C | 5+ min
| 94C | 2 min |  | Denaturation and Taq Activation
| 94C | 10 sec | 50 cycles
| 60C | 30 sec